| Fire / Safety Concern | Yes | No | Corrective actions |
| --- | --- | --- | --- |
| Address/Unit # clearly visible from street |  |  |  |
| FD access to all sides of the structure |  |  |  |
| Electrical Service line clear of obstructions |  |  |  |
| Gas meter visible |  |  |  |
| Water meter visible |  |  |  |
| Smoke/CO detectors installed per Manufacturers specifications |  |  |  |
| Smoke/CO detector batteries marked with date of installation |  |  |  |
| Smoke/CO detector batteries changed at “Time Change” |  |  |  |
| E.D.I.T.H. in place and practiced (emergency exit drill) |  |  |  |
| All windows and doors will open from the inside |  |  |  |
| Proper fire extinguisher present |  |  |  |
| Heat sources / stove burners are clear of combustible materials |  |  |  |
| Oven/ Stove clean of debris |  |  |  |
| Resident reminded to not leave cooking foods unattended |  |  |  |
| Water heater temperature does not exceed 120 degrees |  |  |  |
| Light bulbs do not exceed maximum wattage recommendations |  |  |  |
| Cabinets secured with child-proof latch device |  |  |  |
| Portable space heaters at least 3 feet from combustible materials |  |  |  |
| Electrical panel inspected for hazards (tape, missing breakers) |  |  |  |
| Electrical panel circuits labeled |  |  |  |
| Proper use of extension cords |  |  |  |
| Poisons/insecticides stored properly |  |  |  |
| Outdoor cooking area clear of hazards |  |  |  |
| Outdoor cooking materials disposed of properly |  |  |  |
| Smoking materials disposed of properly |  |  |  |
| Matches/lighters stored safely |  |  |  |
| Swimming pool/Spa area secured/gated |  |  |  |
| Pool/Spa chemicals stored properly |  |  |  |
| Screen in place in front of fireplace |  |  |  |
| HVAC / Furnace inspected/ cleaned annually |  |  |  |
| HVAC / Furnace filters changed per manufacturers specifications |  |  |  |
| Clothes dryer lint trap cleaned/inspected |  |  |  |
| Dryer vent hose properly functioning and intact |  |  |  |
| Gasoline stored in approved safety cans |  |  |  |
| Flammable/combustible liquids stored away from heat sources |  |  |  |
| Fire Dept notified of any special-needs residents |  |  |  |
| Area rugs have non-slip backing |  |  |  |
| Egress ladders in place for two story homes |  |  |  |
| Chimney inspected/cleaned annually by certified personnel |  |  |  |
| Water heater in garage min. 18” from floor |  |  |  |
| Other: |  |  |  |
| Other: |  |  |  |

| Contact Name |  | Date |  |
| --- | --- | --- | --- |
| Address |  | Start Time |  |
| Telephone # |  | Complete Time |  |
| FD Personnel |  |  |  |

Residential Fire Safety Home Checklist

The Residential Fire & Safety Program checklist is available at no cost.  The checklist covers a variety of potential hazards that may occur, but does not cover every hazard that may be experienced.  The completion of the Residential Fire & Safety Checklist does not guarantee that a hazard will not occur.  By requesting a copy of the Residential Fire & Safety Checklist it is understood that the homeowner will not hold the Alamo Heights Fire Dept responsible for any future hazards or emergencies that may occur in the residence.

Printed Name:________________________________________

Signature:______________________________E-mail:___________________________________